## Sheet1
TOMIWA AYANWALE
Data centre name | state | city | operator | planned/operational | MW Capacity | Latitude | Longitude | ISO or RTO region | Nearest Substation Name | Substation Distance (mi) | Transmission Line Name | Transmission Voltage (kV) | Transmission line owner | Transmission ISO or RTO | Grid Connection Observed (Y/N) | Data Source/Link
Digital Realty – IAD24 | Virginia | Ashburn | Digital Realty | operational | 14 | 39.002350 | -77.483584 | PJM | Greenway Substation | 0.25 | Greenway – Enterprise | 230 | Dominion energy | PJM | Yes | https://www.datacentermap.com/usa/virginia/ashburn/43830-devin-shafron-dr/
Centresquare-1AD4 | Virginia | Ashburn | Centresquare | operational | 10 | 39.0225465 | -77.4531094 | PJM | Beaumeade Substation | 0.05 | Beaumeade - interconnection | 230 | Dominion energy | PJM | Yes | https://www.datacentermap.com/usa/virginia/ashburn/ashburn-wdc1/
Cologix ASH1-S | Virginia | Ashburn | Cologix | operational | 140 | 39.018083 | -77.459571 | PJM | Beaumeade Substation | 0.5 | Beaumeade - NIVO | 230 | Dominion energy | PJM | Yes | https://www.datacentermap.com/usa/virginia/ashburn/cologix-ash1-s/
CoreSite - VA3 | Virginia | Reston | CoreSite | operational | 12.5 | 38.948595 | -77.371653 | PJM | Herndon park substation | 1.25 | Herndon Park – Reston | 230 | Dominion Energy | PJM | Yes | https://www.datacentermap.com/usa/virginia/reston/coresite-va3/
Flexential Richmond | Virginia | Richmond | Flexential | operational | 2.8 | 37.646666 | -77.438438 | PJM | Elmont Substation | 1.24 | Elmont Sub – Chickahominy Sub | 500 | Dominion Energy | PJM | Yes | https://www.datacentermap.com/usa/virginia/richmond/flexential-richmond/
Iron Mountain - VA - 1 | Virginia | Manassas | Iron Mountain | operational | 24 | 38.777409 | -77.547148 | PJM | Dawkins Branch Substation | 0.24 | Dawkins Branch - Liberty | 230 | Dominion Energy | PJM | Yes | https://www.datacentermap.com/usa/virginia/manassas/iron-mountain-va-1/
CytrusOne - NVA9 | Virginia | Sterling | CytrusOne | operational | 30 | 39.025968 | -77.413813 | PJM | Beco substation | 3.21 | Beco - Davis Drive | 230 | Dominion Energy | PJM | Yes | https://www.datacentermap.com/usa/virginia/sterling/cyrusone-nva9/
Cogent | Virginia | Vienna | Cogent communication, inc | operational | 0.4 | 38.895311 | -77.218525 | PJM | Clark Substation | 2.78 | Clark - Idylwood | 230 | Dominion Energy | PJM | Yes | https://www.datacentermap.com/usa/virginia/vienna-virginia/cogent-vienna/
Middletown | Virginia | Middletown | Middletown | operational | N/A | 39.017650 | -78.281700 | PJM | Meadow brook substation | 0.95 | Greenland Gap – Meadow Brook | 500 | The Potomac Edison Company | PJM | Yes | https://www.datacentermap.com/usa/virginia/middletown/experisdc/
Mineral Gap (DP Facilities) | Virginia | Wise | DP Facilities | operational | 65 | 36.948330 | -82.574105 | PJM | wise substation | 2.2 | wise substation | 138 | Appalachian Power Company (AEP) | PJM | No | https://www.datacentermap.com/usa/virginia/wise/mineral-gap-data-center/
MSA Evergreen Heights | Pennsylvania | Pittsburgh | Management Services Associates | operational | N/A | 40.525280 | -80.037550 | PJM | north substation | 2.4 | crescent to north | 138 | Duquense light | PJM | No | https://www.datacentermap.com/usa/pennsylvania/pittsburgh/msa-evergreen-heights/
Flexential Philadelphia - Collegeville | Pennsylvania | Collegeville | Flexential | operational | 7.2 | 40.162610 | –75.450134 | PJM | Limerick Substation | 7.38 | Limerick – Norristown | 230 | PECO | PJM | Yes | https://www.datacentermap.com/usa/pennsylvania/philadelphia/flexential-philadelphia-collegeville/
DataBank PHL1 | Pennsylvania | Philadelphia | DataBank | operational | 0.34 | 39.959642 | -75.161000 | PJM | Callowhill Substation | 0.35 | Callowhill to Christian | 230 | PECO | PJM | Yes | https://www.datacentermap.com/usa/pennsylvania/philadelphia/zcolo-401-n-broad/
Iron Mountain – WPA‑1 | Pennsylvania | Boyers | Iron Mountain | operational | 15.5 | 40.7100 | –79.7840 | PJM | Freeport Substation | 1 | Freeport – Deer Creek | 230 | FirstEnergy | PJM | Yes | https://www.datacentermap.com/usa/pennsylvania/pittsburgh/iron-mountain-wpa-1/
DataBank – PIT2 (Summit Park) | Pennsylvania | Pittsburgh | DataBank | operational | 4.55 | 40.5188 | –80.0107 | PJM | Summerset Substation | 1.5 | Summerset – Corliss | 138 | Duquesne Light | PJM | Yes | https://www.datacentermap.com/usa/pennsylvania/pittsburgh/databank-pit2-summit-park/
Involta – Freeport | Pennsylvania | Freeport | Involta | operational | 10 | 40.5664 | –79.7284 | PJM | Freeport Substation | 0.5 | Freeport – McKeesport | 230 | FirstEnergy | PJM | Yes | https://www.datacentermap.com/usa/pennsylvania/pittsburgh/involta-pittsburgh/
DaSTOR – King of Prussia | Pennsylvania | King of Prussia | DaSTOR LLC | operational | 3 | 40.0817 | –75.3634 | PJM | Swedeland Substation | 1 | Swedeland – Norristown | 230 | PECO | PJM | Yes | https://www.datacentermap.com/usa/pennsylvania/philadelphia/dastor-king-of-prussia/
TierPoint – Philadelphia Technology Park (Navy Yard) | Pennsylvania | Philadelphia | TierPoint | operational | N/A | 39.8988 | –75.1310 | PJM | Southwark Substation | 0.5 | Southwark – Navy Yard | 230 | PECO | PJM | Yes | https://www.datacentermap.com/usa/pennsylvania/philadelphia/philadelphia-technology-park/
Terminal Commerce Building | Pennsylvania | Philadelphia | Netrality Data Centers | operational | 8.5 | 39.9587 | –75.1582 | PJM | Callowhill Substation | 0.3 | Callowhill – Schuylkill | 230 | PECO | PJM | Yes | https://www.datacentermap.com/usa/pennsylvania/philadelphia/terminal-commerce-building/
Loop Internet DC2 | Pennsylvania | Wilkes-Barre | Loop Internet | operational | N/A | 41.2459 | –75.8811 | PJM | Wilkes-Barre Substation | 0.4 | Wilkes-Barre – Susquehanna | 230 | PPL Electric Utilities | PJM | Yes | https://www.datacentermap.com/usa/pennsylvania/wilkes-barre/loopinternet-dc2/
COL3 Columbus Data Center | Ohio | Columbus | Cologix | operational | 18 | 40.0180 | −83.0915 | PJM | Columbus West Substation | 0.3 | Columbus West – Campus feeder | 230 | AEP Ohio / Cologix | PJM | Yes | https://www.datacentermap.com/usa/ohio/columbus/cclogix-col3/
H5 Data Centers – Cleveland | Ohio | Cleveland | H5 Data Centers | operational | 10 | 41.5075 | −81.7017 | PJM | Cleveland-13 Transmission Substation | 0.4 | Cleveland-13 – Downtown feeder | 230 | The Illuminating Company | PJM | Yes | https://www.datacentermap.com/usa/ohio/cleveland/h5dc-cleveland/
Fidelity Voice and Data – Cleveland | Ohio | Cleveland | Fidelity Voice and Data | operational | N/A | 41.5091 | –81.6959 | PJM | Cleveland-13 Substation | 0.6 | Cleveland-13 – Downtown Loop | 230 | The Illuminating Company | PJM | Yes | https://www.datacentermap.com/usa/ohio/cleveland/fidelity-voice-and-data/
Flexential – Cincinnati | Ohio | Cincinnati | Flexential | operational | 5.4 | 39.2908 | –84.4071 | PJM | West Chester Substation | 0.6 | West Chester – Crescentville | 138 | Duke Energy Ohio | PJM | Yes | https://www.datacentermap.com/usa/ohio/cincinnati/flexential-cincinnati/
DartPoints – Cincinnati CVG01 | Ohio | Cincinnati | DartPoints | operational | 1.0 | 39.098228 | –84.517483 | PJM | Downtown Cincinnati Substation | 0.3 | Downtown – Queen City feeder | 138 | Duke Energy Ohio | PJM | Yes | https://www.datacentermap.com/usa/ohio/cincinnati/profitabilitynet/
LightSpeed Data Center | Ohio | Medina | LightSpeed Hosting | operational | 0.25 | 41.131325 | –81.850271 | PJM | Lodi Substation | 1.2 | Lodi – Medina | 138 | FirstEnergy | PJM | Yes | https://www.datacentermap.com/usa/ohio/akron/medina387/
Bowling Green Campus | Ohio | Bowling Green | Meta | planned | 100 | 41.351290 | –83.639680 | PJM | South Dunbridge Substation | 0.75 | South Dunbridge – Lemoyne | 138 | FirstEnergy | PJM | No | https://www.datacentermap.com/usa/ohio/toledo/meta-bowling-green-campus/
Involta – Youngstown | Ohio | Youngstown | Involta | operational | 1.5 | 41.020991 | –80.768524 | PJM | West Calla Substation | 0.9 | West Calla – Canfield | 138 | FirstEnergy | PJM | Yes | https://www.datacentermap.com/usa/ohio/youngstown/involta-youngstown/
SecureData 365 – Canton | Ohio | Canton | SecureData 365 | operational | 2 | 40.837785 | –81.448070 | PJM | Everhard Substation | 0.8 | Everhard – Canton Central | 138 | FirstEnergy | PJM | Yes | https://www.datacentermap.com/usa/ohio/canton/securedata-365/
LexisNexis Springfield | Ohio | Miamisburg | LexisNexis | operational | N/A | 39.630384 | –84.247633 | PJM | Yankee Substation | 1.2 | Yankee – Moraine | 138 | AES Ohio | PJM | Yes | https://www.datacentermap.com/usa/ohio/springfield-oh/lexisnexis-springfield/